## Sheet1
ENGR-221 Lab Winter 2013 |  |  |  | Identifying Information
Gregory Monahan |  |  |  | Student's Name
File Edit History |  |  |  | Date of test
Date Created | 2012-01-24 |  |  | Lab Room #
| 2013-07-08 | added DMM button and connection information – mff |  | Lab Station #
Rename this file by appending your first and last name to the file name,
e.g.: ENGR_221_Lab_W13_DC_Meter_Pre_Flight_Checkout_Marie_Curie.xlsx
Results
|  |  |  | Measurement | Reading | Units
|  |  |  | 2 Wire Resistance |  | Ohms
|  |  |  | DC Voltage |  | mV
|  |  |  | DC Current |  | uA
Please email this completed form to your lecture instructor if you find a defective DMM
Areas marked in yellow require completion before submitting this form to your instructor.
Notes:
The manual for the meter can be found on-line
These values were heuristically determined for the Fluke 8088A DMM
How to minimize the possibility of unpleasant surprises while taking DC measurements with a DMM.
Step 1 | Choose a set of test leads and perform a visual inspection
Look over the wire carefully.
Are there any breaks in the insulation?
Are there any severe kinks in the wires?
Are there any dents in the wire?
Look at the banana plug end of the wire.
Are there any broken springs?
Does the wire appear to be firmly attached?
Is the insulator in place and undamaged?
Look at the clip end of the wire.
Is the clip functional (will it grab and hold a resistor lead)?
Does the wire appear to be firmly attached?
Is the insulator in place and undamaged?
Step 2 | Power up the DMM and install the test leads in the 2 wire Ohmmeter locations
The plugs should be installed in the VΩ HI and LO connectors.
Do the banana plugs fit firmly in the meter sockets?
If not, refurbish the banana plug springs or replace the offending lead.
Select resistance measurement by pressing the Ω button. The display should indicate 2x4 wire in the upper left hand corner. If it doesn't press the button again.
Clip the ends of the leads together and measure the short circuit resistance.
|  |  | Resistance Measurement | Quality Statement
|  |  | less than 100 mOhms | Primo!
|  |  | between 100 and 200 mOhms | Acceptable
|  |  | between 200 and 500 mOhms | Questionable, depending on the accuracy required.
|  |  | Greater than 500 mOhms | Reject this test lead
Check to assure that the measured resistance does not vary when gently manipulating the wires and connectors. Leads showing intermittent readings should be brought to the your instructor's attention. Do NOT return intermittent leads to the storage racks.
Note that if you suspect the meter, rather than the test leads repeat the above tests using a short (6 - 12" long) high quality lead with a banana jack at each end.
Step 3 | Set the meter to take DC Voltage Measurements
Press the DCV button to set the meter for DC Voltage measurements. This measurement uses the same terminals as resistance measurement.
Measure the voltage when the test leads clipped together
|  |  | DC Voltage Measurement | Quality Statement
|  |  | less than 2 mV | Primo!
|  |  | between 2 and 10 mV | Acceptable
|  |  | Greater than 10 mV | Talk to your instructor
Step 4 | Set the meter to take DC Current Measurements
Press the DC I button to enable current measurements.
Current measurements use the mA and LO terminals or 10A and LO terminals.
It depends on the maximum current to be measured. The mA terminal can only handle 200mA max
Note: Remove the tape blocking the micro-Ampere connection ONLY if instructed to do so in your lab assignment.
Move positive test lead to the 200 mA input plug and measure the current with the leads shorted.
|  |  | DC Current Measurement | Quality Statement
|  |  | less than 2 mA | Primo!
|  |  | between 2 and 10 mA | Acceptable
|  |  | Greater than 10 mA | Talk to your instructor